1. Power off  the meter .

2. Connect the meter and PC by USB cable.

3.Power on the meter

4. The meter enter into USB mode with YELLOW led flickered.

5. The PC detects the new usb device, please install usb driver automaticlly or manually

6.Run meter_dfu_v_1_0.exe and choose new software.

7. Click on Upgrade  and waiting for new software updated.